## Slide 1: Weakest Bus Identification and Voltage Stability Improvement
Student ID:
1706049
1706123
1706138
1706155
1706156
1706173
1706180
Group:6

## Slide 2: Test System
IEEE-14 Bus System
5 Generators are in the system
Generators are connected in 1,2,3,6,8

## Slide 3: Theory
According to the theory, the buses nearer to the generator are the strongest bus
And the buses farthest to the generator are the weakest buses of the system.

## Slide 4
Workflow
Strongest Bus Ranking based on PV or QV
PV and QV Generation
FACT Device for Stabilize voltage of the weakest bus

## Slide 5: P V Curve
The Graph we got
The Graph we supposed to get

## Slide 6: Q V Curve

## Slide 7
P V Curve
PV Analysis
at BUS 14
Using PSSE

## Slide 8
P V Curve
PV Analysis
at BUS 14
Using MatPower

## Slide 9
P V Curve

## Slide 10
Q V Curve
Bus Number 14
Weakest bus of the system
Using PSSE

## Slide 11
Q V Curve
Bus Number 12
Second weakest bus
Using PSSE

## Slide 12
* BUS 2
*This is the strongest bus of the system
*Highest Reactive power margin
which is 500 MVAR

## Slide 13
Ranking
Ranking Based
on QV
From PSSE

## Slide 14
Ranking
Chart: 
| 4 | 5 | 7 | 9 | 10 | 11 | 12 | 13 | 14
 | 704 | 676 | 357 | 358 | 262 | 261 | 211 | 319 | 167
Ranking Based
on PV
Using MatPower

## Slide 15
Injecting Reactive power In the buses.
Reactive power injection is done by various FACTS Devices like Shunt Capacitor , Static Var Compensator , STATCOM
How to stabilize the voltages of the weakest Buses?

## Slide 16
Reactive Power Compensation Idea:

## Slide 17
Before Injecting Reactive Power
BUS 14
Weakest Bus of the system
Reactive Power Margin
85 MVAR

## Slide 18
After Injecting Reactive Power
BUS 14
Weakest Bus of the system
Reactive Power Margin
118 MVAR
90 MVAR Injected

## Slide 19
Reference: https://pdf.sciencedirectassets.com/271091/1-s2.0-S0378779600X00466/1-s2.0-S0378779699000826/main.pdf?X-Amz-Security-Token=IQoJb3JpZ2luX2VjENv%2F%2F%2F%2F%2F%2F%2F%2F%2F%2FwEaCXVzLWVhc3QtMSJHMEUCIBoMtxzHZpDlRlKL3yjEiYuWOlngbtCKF2aJUM40GaqUAiEAzdQ2M2T8UU4FdVgwerk1ZzvSAYKbatpSCga1zgXcAucqvAUIhP%2F%2F%2F%2F%2F%2F%2F%2F%2F%2FARAFGgwwNTkwMDM1NDY4NjUiDAbOa4Nz4YNEFWF5OyqQBXT0VdeLRjIF9UB2YRA27rry1iQ%2FuWsX3VUYCEeAANE%2FtkRFvD3d7ADh6i9NoEzmYe7XmqimT%2F1aA4IbN6GI7YhmOW6skD7ODOTd07jehbtkzn1%2BdL%2F%2BQhow2rj3dRY1dGtAdSWAUjep3soPdyWFGGDeOdJXJo1eELwKrpf5k5Oqy%2FyIVqYrWeEL1m1StPf2gW1qI7GI2xdZDVgEg9422kSq%2BUN6MqC%2BPuN4SPTv04reP4CexL2cUoawy%2FBeeLD0pP5aDulAqZzzDoDF9AetNM06Q5DTtG2mcLFV7trlRVF9LqI8jeQhubel8HQxadaW83EUD1SIalm1dHqC7f8TBbeOK6X4Cpns%2FdItIlH8ihNxTbncJ%2BsuYeysSz0uvkScFLDcST0Hf8M7grIw4LL15n6C1RdrPSKUCIq2QCXkVlNEXEmOcxMbhCtPGGHXx4MmnID0C6WK15Ol8u%2Bw7CBPk16UMN7xH0L6%2FC%2Fim5nfXRXzAyfW9476P%2B6D7OZASdeOhAElNFoRjGw2prazF1UwIQzHACiL4CZRY3acHA62OQNiHx%2F8ejrq9%2B48BemTCoS95Jk5tkJVsVn2z7W%2FYX6rTunuSUi759kaXChxu8R6XbVsTO4wEkWsc7SW%2BvWL3Pa5HU%2BNZdIaxeGZWOo80e7m1wLKdCCG7oxKORjwBqZC8HpD%2BdLa3Gd6HHFXiHzDQgLQlGOcB6CNXR9oahG%2BV%2B%2FsSKMDJCNV2n6WPIyIbZgT3iYqiqoeaZLvU2usgJL%2B%2F4hXj0ZyjfoVO8wp7FS%2BmxMqIv3Zec6cJB2FU5nGvfCzPWMUBcOIIL9QShfBFuym709dAB2EHI8PskqtuEakAK1MosadlBrempeWbtgrslwhf9N3MMDv%2Bp8GOrEBzEDEXXMWpGdhGAkkkaBB2mrsQwczsSs0dWMe5d12lY1%2BVywiq3mvnvgRYEvFkV3fhXjwXprhdGyviUwQt9SBdXFW93VORCZI5PJNfq4SkHgh8tjJfJOSkXIfy4VReqxMsjQCldsvN1JOoUq%2BDOud%2BcfhRV5eHoS5%2FTx3Zgnr%2B2TMWOzSoQbfJXRr%2FQheVFvzepko21qqNMVUCFPO78C2mevIGAuzrdC7qgqdsUG7JYPY&X-Amz-Algorithm=AWS4-HMAC-SHA256&X-Amz-Date=20230301T030502Z&X-Amz-SignedHeaders=host&X-Amz-Expires=299&X-Amz-Credential=ASIAQ3PHCVTYT737N3N6%2F20230301%2Fus-east-1%2Fs3%2Faws4_request&X-Amz-Signature=191f6f8a70d9b3676dbd29763da3ee0fdf879ab84b1c4636405b748da1e26573&hash=f28a6582ad9e5cd77cd8227f64d3e9e405f941c7826083fa28db03cb38c522d1&host=68042c943591013ac2b2430a89b270f6af2c76d8dfd086a07176afe7c76c2c61&pii=S0378779699000826&tid=spdf-52ba4158-4365-46af-ba69-c08a4cd334b3&sid=7fe172b1730be3431a881277a043c6967ce1gxrqb&type=client&tsoh=d3d3LnNjaWVuY2VkaXJlY3QuY29t&ua=040158045e0757055600&rr=7a0e2d0d0f696bc7&cc=bd
Steps for Optimizing Voltage level to nominal Value
This optimizing method used from the below reference paper

## Slide 20
Bus 4 Required Reactive Power Calculation

## Slide 21
Bus | Reactive Power
14 | -30
13 | 10
12 | -30
11 | -5
10 | 0
9 | 45
7 | 47
5 | 10
4 | 17
Individual Bus Requirement for each Buses

## Slide 22
Individual Bus Requirement for each Buses
Overall Bus Improvement for all Buses

## Slide 23
Overall Improvement at Bus 12

## Slide 24
Overall Improvement at Bus 12

## Slide 25
Thank You all For Your Patience